## Read Me
Summer Cal PX Simulation Results
Description of Workbook
The attached plots (Charts 1-5) show the results of a simulation of California Power Exchange hourly volumes and
unconstrained market clearing prices (UMCP's). The data employed are from the periods July-September,
1998 and 1999. Due to notably low volumes and concern about the anomolous start up period for the CPX,
the first 4 days of July, 1998 were omitted from the sample. Otherwise, historic hourly data are taken from
5X16 periods, exclusive of NERC holidays, for the days stated. Total sample size was 124 days by 16 hours.
Probabilistic models generated simulated loads and, from them, simulated prices. The architecture of the calculation is such
that intra-day relationships as well as overall price and load distributions were captured. In particular, the average
prices of the 4 super peak hours, hours 15-18, and the remainder of the hourly prices are comparable as well
(chart not included). The simulation has two major parts. The first contains a methodology for emulating
the distribution and hourly serial correlations of loads in this market. The second is a separate set of methods
for genereating prices probabilistically from load inputs. This latter half can be used to calculate price distributions
from the base case loads, from scenarios developed from that history or from stand-alone load scenarios.
Simulated data reported are from a 2000 day by 16 hour run. That size is small compared to the variability in the model, but
adequate for discussion purposes. A larger simulation of 50,000+/- days is required for appying the model.
The 2,000 day run takes less than 30 seconds computational time. The larger runs can be accomplished in
15 minutes. The calculations were accomplished on a 450 MHz, PIII personal computer. Raw data sets
create files too large for e-mailing, but are available for inspection.
[Person_1]
Chart 1: a comparison of the historic and simulated hourly load distributions. [Person_2] size = 1000MW's
Chart 2: a similar comparison of hourly prices (please note changing [Person_3] size at higher values).
Charts 3 and 4: the 16-hour daily price data sets were sorted by average daily price for HLH, then divided into and averaged
across 10 ten-percentile slices. This allows comparison of the intra-day shape of historic and simulated prices.
Recall that each slice in the history chart contains each hour's average across 12 or 13 days, whereas the simulation
slices average across 200 days for each hour.
Chart 5: Price-duration curve comparison for historic and simulated hourly prices.

## Data
Distributions | [9 empty] | 10-Percentile Price Slices
Load | History |  | Simulation |  | Price | History |  | Simulation |  | History
MW Bins | Distribution | Count | Distribution | Count | Price Bins | Distribution | Count | Distribution | Count | Hour | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
18000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Percentile
19000 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0-10 | 22.3972 | 24.5375 | 26.0124 | 26.7181 | 27.4393 | 27.1703 | 27.4577 | 27.8417 | 28.3255 | 28.3228 | 27.8196 | 26.9402 | 26.5223 | 27.1349 | 27.0858 | 25.5517
20000 | 0 | 0 | 0.0001875 | 6 | 10 | 0.0010081 | 2 | 3.125e-05 | 1 | 10-20 | 21.8168 | 25.0171 | 26.9746 | 27.7516 | 28.64 | 28.8448 | 29.6848 | 30.6509 | 31.9476 | 32.7333 | 31.6897 | 30.1052 | 29.322 | 28.8728 | 28.564 | 27.2271
21000 | 0.00050403 | 1 | 0.00053125 | 17 | 15 | 0.0025202 | 5 | 0.0063438 | 203 | 20-30 | 21.2573 | 25.1841 | 26.7209 | 28.6246 | 30.1239 | 30.6636 | 31.6789 | 33.5493 | 36.0957 | 37.0193 | 35.6662 | 32.6629 | 31.0035 | 30.2707 | 30.1407 | 28.1945
22000 | 0.0030242 | 6 | 0.00475 | 152 | 20 | 0.012601 | 25 | 0.04875 | 1560 | 30-40 | 23.3437 | 26.859 | 27.8251 | 29.1419 | 30.6782 | 31.3041 | 32.5136 | 35.9602 | 38.9823 | 39.8989 | 38.816 | 35.3036 | 31.7636 | 31.099 | 30.7624 | 29.0994
23000 | 0.016129 | 32 | 0.015344 | 491 | 25 | 0.041331 | 82 | 0.11553 | 3697 | 40-50 | 25.6039 | 28.782 | 30.1267 | 31.3115 | 32.4161 | 33.0778 | 34.8027 | 37.7012 | 41.5548 | 43.4082 | 42.1418 | 36.901 | 33.7234 | 33.6864 | 33.3233 | 30.901
24000 | 0.03629 | 72 | 0.035562 | 1138 | 30 | 0.26109 | 518 | 0.16487 | 5276 | 50-60 | 23.6662 | 27.2759 | 29.2208 | 30.485 | 32.0374 | 33.036 | 35.8967 | 40.878 | 47.6673 | 50.2191 | 47.8299 | 40.9311 | 35.5223 | 33.6194 | 33.3411 | 30.4845
25000 | 0.068044 | 135 | 0.062781 | 2009 | 35 | 0.26613 | 528 | 0.15991 | 5117 | 60-70 | 24.0012 | 28.7221 | 29.8254 | 32.4945 | 35.1978 | 38.162 | 44.9747 | 54.2131 | 60.4147 | 63.2587 | 59.8006 | 50.4589 | 43.9965 | 38.0713 | 37.2214 | 32.4597
26000 | 0.075605 | 150 | 0.086969 | 2783 | 40 | 0.11643 | 231 | 0.11753 | 3761 | 70-80 | 25.442 | 29.3263 | 30.6961 | 33.825 | 37.8672 | 43.1561 | 52.3819 | 63.9927 | 80.3388 | 88.0134 | 85.121 | 69.3287 | 53.7024 | 45.8013 | 45.2891 | 35.2484
27000 | 0.089214 | 177 | 0.10606 | 3394 | 45 | 0.060988 | 121 | 0.084625 | 2708 | 80-90 | 27.5855 | 29.7639 | 31.334 | 33.3219 | 39.3476 | 48.2794 | 69.5888 | 88.6139 | 123.8941 | 133.958 | 131.386 | 104.3443 | 72.3321 | 56.2351 | 53.6171 | 38.0839
28000 | 0.12752 | 253 | 0.12153 | 3889 | 50 | 0.049899 | 99 | 0.065062 | 2082 | 90-100 | 29.6423 | 32.011 | 35.7801 | 43.8963 | 72.8549 | 84.6492 | 107.0952 | 137.8087 | 161.9848 | 167.4807 | 165.0419 | 138.1237 | 103.8143 | 89.6243 | 79.5611 | 47.3344
29000 | 0.1376 | 273 | 0.1315 | 4208 | 60 | 0.041835 | 83 | 0.077594 | 2483
30000 | 0.12097 | 240 | 0.12394 | 3966 | 70 | 0.02873 | 57 | 0.049031 | 1569 | Simulation
31000 | 0.1124 | 223 | 0.10147 | 3247 | 80 | 0.022177 | 44 | 0.032156 | 1029 | Hour | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22
32000 | 0.079637 | 158 | 0.079406 | 2541 | 90 | 0.020665 | 41 | 0.021063 | 674 | Percentile
33000 | 0.052419 | 104 | 0.057563 | 1842 | 100 | 0.012601 | 25 | 0.013562 | 434 | 0-10 | 18.6186 | 19.8785 | 21.1383 | 22.3982 | 23.5603 | 24.5229 | 25.2801 | 25.8259 | 26.1543 | 26.2597 | 26.0261 | 25.4111 | 24.5756 | 23.7247 | 23.0636 | 22.7977
34000 | 0.050403 | 100 | 0.0375 | 1200 | 120 | 0.015121 | 30 | 0.018437 | 590 | 10-20 | 20.8093 | 22.6966 | 24.5838 | 26.4711 | 28.3636 | 30.1822 | 31.7999 | 33.0902 | 33.9261 | 34.1891 | 33.6261 | 32.2186 | 30.329 | 28.4141 | 26.9302 | 26.3342
35000 | 0.017137 | 34 | 0.019125 | 612 | 140 | 0.010081 | 20 | 0.010688 | 342 | 20-30 | 21.7021 | 23.9065 | 26.111 | 28.3154 | 30.7618 | 33.4718 | 36.115 | 38.3609 | 39.879 | 40.3859 | 39.5252 | 37.3627 | 34.4623 | 31.524 | 29.2478 | 28.3335
36000 | 0.010081 | 20 | 0.01025 | 328 | 160 | 0.024698 | 49 | 0.0061563 | 197 | 30-40 | 22.3686 | 24.6754 | 26.9822 | 29.289 | 32.1921 | 35.8725 | 39.7073 | 43.0734 | 45.348 | 46.0479 | 44.7347 | 41.6405 | 37.5986 | 33.5485 | 30.4296 | 29.1812
37000 | 0.0030242 | 6 | 0.00425 | 136 | 180 | 0.0060484 | 12 | 0.0029375 | 94 | 40-50 | 22.9866 | 25.4466 | 27.9066 | 30.3666 | 33.6246 | 37.9692 | 42.6359 | 46.8605 | 49.8785 | 51.0285 | 49.6864 | 46.0321 | 41.0435 | 35.9535 | 31.9953 | 30.4019
38000 | 0 | 0 | 0.0010313 | 33 | 200 | 0.0040323 | 8 | 0.002 | 64 | 50-60 | 22.9125 | 25.4032 | 27.8938 | 30.3844 | 34.2859 | 40.1696 | 46.7766 | 52.8478 | 57.1242 | 58.5695 | 56.4988 | 51.477 | 44.8593 | 38.2035 | 33.0676 | 31.0094
39000 | 0 | 0 | 0.00025 | 8 | 250 | 0.0020161 | 4 | 0.0021563 | 69 | 60-70 | 24.0549 | 26.4972 | 28.9396 | 31.3819 | 35.7791 | 42.9898 | 51.3695 | 59.2738 | 65.0584 | 67.2627 | 64.8556 | 58.5285 | 50.0385 | 41.4358 | 34.7706 | 32.0933
40000 | 0 | 0 | 0 | 0 | 300 | 0 | 0 | 0.00090625 | 29 | 70-80 | 23.6678 | 26.3317 | 28.9955 | 31.6594 | 37.1923 | 46.876 | 58.3299 | 69.1729 | 77.0244 | 79.8894 | 76.5801 | 68.1206 | 56.8265 | 45.4061 | 36.5678 | 33.0199
41000 | 0 | 0 | 0 | 0 | 350 | 0 | 0 | 0.00021875 | 7 | 80-90 | 23.4257 | 25.9782 | 28.5307 | 31.0832 | 38.1002 | 51.6489 | 68.1336 | 84.2638 | 96.998 | 99.9681 | 96.6875 | 83.8755 | 68.2877 | 52.7407 | 40.7174 | 35.893
42000 | 0 | 0 | 0 | 0 | 400 | 0 | 0 | 0.00021875 | 7 | 90-100 | 22.3744 | 25.0719 | 27.7694 | 30.4669 | 42.4758 | 68.1924 | 100.244 | 132.6544 | 158.4456 | 163.0701 | 158.1095 | 133.2792 | 103.1584 | 73.7316 | 50.9326 | 41.7745
43000 | 0 | 0 | 0 | 0 | 450 | 0 | 0 | 0.000125 | 4
44000 | 0 | 0 | 0 | 0 | 500 | 0 | 0 | 0 | 0
45000 | 0 | 0 | 0 | 0 | 550 | 0 | 0 | 9.375e-05 | 3 | Price-Duration Curves
[5 empty] | 600 | 0 | 0 | 0 | 0 | 0% | 1% | 2% | 3% | 4% | 5% | 6% | 7% | 8% | 9% | 10% | 11% | 12% | 13% | 14% | 15% | 20% | 25% | 30% | 35% | 40% | 50% | 60% | 65% | 70% | 75% | 80% | 85% | 86% | 87% | 88% | 89% | 90% | 91% | 92% | 93% | 94% | 95% | 96% | 97% | 98% | 99% | 100%
[10 empty] | 9.9971 | 18.1555 | 20.7728 | 22.8868 | 24.0529 | 24.8861 | 25.1213 | 25.6885 | 25.9989 | 26.2085 | 26.4534 | 26.7635 | 26.9923 | 27.0032 | 27.0581 | 27.3474 | 28.2384 | 29.0038 | 29.8199 | 30.5105 | 31.0344 | 32.9969 | 35.4016 | 37.4012 | 39.9956 | 44.0198 | 49.0058 | 59.3465 | 62.5107 | 64.9979 | 69.5276 | 72.3601 | 75.6202 | 80.4938 | 86.117 | 93.5268 | 100.6516 | 114.0047 | 126.3868 | 149.5103 | 153.671 | 164.2746 | 224.9955
[10 empty] | 9.6396 | 15.738 | 17.193 | 18.1646 | 18.9909 | 19.699 | 20.2907 | 20.8008 | 21.2681 | 21.7996 | 22.2285 | 22.6683 | 23.0548 | 23.4256 | 23.8515 | 24.2143 | 25.9503 | 27.5619 | 28.9918 | 30.396 | 31.8945 | 35.1629 | 39.3813 | 41.9536 | 45.1542 | 48.8657 | 54.1127 | 61.6782 | 63.5324 | 65.5169 | 67.8304 | 70.1328 | 73.0441 | 76.0986 | 79.4726 | 83.7701 | 88.5302 | 94.772 | 103.4273 | 114.2435 | 130.31 | 154.9351 | 511.8496