## Data Input
Shift length | Days on | Days off | Working hours / shift | Factor | Analysis required | Flow [Person_1]. + | Flow [Person_1]. - | Cassette number | Sample Equip Code | Pump Asset Number | Calibrator Asset Number | Start Time | Finish Time | Total Minutes | Initial Flow rate | Final Flow rate | Average Flow rate | Flow rate variance % | Volume (Litres) | Reduction Factor | Contaminant 1 | [Person_2]. 1 | NES 1 | Adjusted Standard 1 | Action Level 1 | Sample Result 1 | Contaminant 2 | [Person_2]. 2 | NES 2 | Adjusted Standard 2 | Action Level 2 | Sample Result 2
14 | 9 | 5 |  |  | DP | [6 empty] | 8:00 | 12:00 |  | 2 | 2.2 | [9 empty] | 0.03
12 | 5 | 5 |  |  | MEK | [6 empty] | 8:03 | 12:00 |  | 2.23 | 2.2 | [9 empty] | 16.2
12 | 8 | 6 |  |  | TRI / TOL | [6 empty] | 7:00 | 12:00 |  | 2.24 | 2.2 | [9 empty] | 26 | [5 empty] | 25
9 | 16 | 4 |  |  | ASB | [6 empty] | 8:35 | 12:00 |  | 2.1 | 2.2 | [9 empty] | 0.03
10 | 14 | 7 |  |  | NH3 | [6 empty] | 6:43 | 12:00 |  | 2.43 | 2.2 | [9 empty] | 8.8
12 | 12 | 2 |  |  | WLD | [6 empty] | 8:57 | 12:00 |  | 2.111 | 2.2 | [9 empty] | 1.2 | [5 empty] | 0.003
14 | 7 | 7 |  |  | RES / SIL | [6 empty] | 5:00 | 12:00 |  | 2.234 | 2.1 | [9 empty] | 2.4 | [5 empty] | 0.01
12 | 8 | 6 |  |  | TRI / TOL | [6 empty] | 6:21 | 12:00 |  | 1.987 | 2.1 | [9 empty] | 12.4 | [5 empty] | 55

## NES List
Column1 | Column2 | Column3
INS | 10 | ####0.00
RES | 3 | ####0.00
SIL | 0.1 | ####0.00
ASB | 0.1 | ####0.00
-MN | 1 | ####0.00
WLD | 5 | ####0.00
DP | 0.08 | ####0.00
-AS | 0.05 | ####0.00
-CD | 0.01 | ####0.0000
CRM | 0.05 | ####0.00
CUF | 0.2 | ####0.00
-PB | 0.15 | ####0.00
-HG | 0.025 | ####0.000
Tol | 100 | ####0.0
Tri | 50 | ####0.0
NH3 | 25 | ####0.0
MEK | 150 | ####0.0
-NI | 1 | ####0.00
-ZN | 5 | ####0.00